## Sheet1
Dextran Acidification | [8 empty] | Std Curve (see Prot. 4a)
Mouse heart primary cultures labeled for 2 min with 4 mg/ml FITC-dextran and 1 mg/ml Cy5-dextran | [8 empty] | buffer pH | Avg FITC/Cy5
[9 empty] | 4.5 | 0.10787
Sample Description |  | Mean FITC | Mean Cy5 | FITC-bkg | Cy5-Bkg | Avg FITC | Avg Cy5 |  | 5 | 0.22047
unl |  | 2.755 | 7.635 |  | background= | 2.8745 | 5.8525 |  | 6 | 0.62476
unl |  | 2.994 | 4.07 | [5 empty] | 6.5 | 0.8449
| chase time | [7 empty] | 7.24 | 1
lab | 00 min | 14.096 | 67.612 | 11.2215 | 61.7595 | 12.1848 | 53.7295 |  | 8 | 0.99247
lab | 00 min | 16.706 | 59.082 | 13.8315 | 53.2295
lab | 00 min | 14.376 | 52.052 | 11.5015 | 46.1995 |  |  |  | Calculate | Normalize to | Interpolate using
lab | 02 min | 16.597 | 77.07 | 13.7225 | 71.2175 | 13.9115 | 59.522 |  | ratios | pH 7.24 | pH Standard Curve
lab | 02 min | 16.975 | 53.679 | 14.1005 | 47.8265 |  |  | Chase Time | FITC/Cy5 | Norm. FITC/Cy5 | Index | Intravesic. pH
lab | 05 min | 10.704 | 98.34 | 7.8295 | 92.4875 | 11.5272 | 74.1265 | 0 | 0.22678 | 0.54268 | 2 | 5.797
lab | 05 min | 15.138 | 88.722 | 12.2635 | 82.8695 |  |  | 2 | 0.23372 | 0.55929 | 2 | 5.838
lab | 05 min | 17.363 | 52.875 | 14.4885 | 47.0225 |  |  | 5 | 0.15551 | 0.37212 | 2 | 5.3751
lab | 10 min | 8.245 | 44.747 | 5.3705 | 38.8945 | 6.1208 | 32.6165 | 10 | 0.18766 | 0.44907 | 2 | 5.5654
lab | 10 min | 12.993 | 38.662 | 10.1185 | 32.8095 |  |  | 15 | 0.1785 | 0.42714 | 2 | 5.5112
lab | 10 min | 5.748 | 31.998 | 2.8735 | 26.1455 |  |  | pH 7.24 | 0.41789
lab | 15 min | 8.197 | 30.828 | 5.3225 | 24.9755 | 5.5255 | 30.9555
lab | 15 min | 8.603 | 42.788 | 5.7285 | 36.9355
lab pH | 15 min | 9.364 | 39.555 | 6.4895 | 33.7025 | 9.6585 | 23.1125
lab pH | 15 min | 11.519 | 22.992 | 8.6445 | 17.1395
lab pH | 15 min | 16.716 | 24.348 | 13.8415 | 18.4955
Formula for cell G5: =AVERAGE(C5:C6) [fill right 1 column]
Formula for cell E8: = C8-G$5 [fill right 1 col & down 16 rows, skipping row 21]
Formula for cell G8: =AVERAGE(E8:E10) [fill right 1 col, use similar for G11,13,16,19,22]
Formula for cell K13: =G8/H8 [use similar formulas for K14 through K18]
Formula for cell L13: =K13/K$18 | [6 empty] | [fill down 4 rows]
Formula for cell M13: =MATCH(L13,$L$3:$L$8) | [6 empty] | [fill down 4 rows]
Formula for cell N13: =IF(L13=y1,x1,(L13-y1)*(x2-x1)/(y2-y1)+x1) | [6 empty] | [fill down 4 rows]
| where | x1=INDEX($K$3:$K$8,M13)
x2=INDEX($K$3:$K$8,M13+1)
y1=INDEX($L$3:$L$8,M13)
y2=INDEX($L$3:$L$8,M13+1)